E.N.T Endoscope Camera Instruction JVE-K02

Product Details:

- Application：Suitable for health&beauty, checking nose, oral and ear and real-time viewing

- Pixels：5 million

- 2pcs LED light

- Waterproof Level：IP65

- Dimming：5 level

- Screen：Colorful TFT LCD Screen

- Screen Size：3’

- Screen details :119*66.5*13.3mm

- Screen Resolution：960*480

- Battery：1200ma/h

- Mini USB cable length: 1M

- Lens diameter:0.55mm

Main funtion

Family using，real-time observation, checking oral, nose and ear etc.

Instructions

- Connect screen by mini USB cable

- Turn on the screen

- To adjust the dimming according to the environment

- Use your thumb and index finger to hold the handle

Tips

Please connect the screen by mini USB cable before you turn on the screen and Please take out the handle before you turn off the screen.

Under 14 year-old teenagers can use it by adult companion